## Slide 1: EOVSA CAlibration
Dale E. Gary
Professor, Physics, Center for Solar-Terrestrial Research
New Jersey Institute of Technology

## Slide 2: outline
Calibration Task List
Antenna pointing calibrations
Delay calibrations
  Full array delays wrt 27-m antennas
  Single antenna delay wrt 27-m antennas
  Full array delays on Sun
Bandpass calibration
Reference complex gain calibration
Daily phase calibration
Gain/attenuator/linearity calibration (TBD)
Polarization calibration (TBD)
RFI identification (TBD)
Total power absolute calibration on Moon/Cas A

## Slide 3: New 2-m antennas
See CalibrationSummary.xls

## Slide 4: Pointing calibrations
See EOVSA_Calibration.doc

## Slide 5: Delay calibrations

## Slide 6: Bandpass calibration

## Slide 7: Reference complex gain calibration

## Slide 8: Daily phase calibration

## Slide 9: Gain/attenuator/linearity calib.

## Slide 10: Polarization calibration

## Slide 11: Rfi identification