## Slide 1: EOVSA operator interface and scheduler
Dale E. Gary
Professor, Physics, Center for Solar-Terrestrial Research
New Jersey Institute of Technology

## Slide 2: outline
Basic Concepts
  Display subsystem
  Scheduler (macro-commands only)
Solar mono-mode observing
Calibration procedures
Translation of macro-commands to control, where to do it?

## Slide 3: Basic concepts—display subsystem
The display subsystem gets information solely from the State Frame
Any client can run a display by simply accessing the State Frame, and choosing subsets to display (pages?). This permits monitoring of engineering data independent of operator display.
The operator console will have a fixed set of pages to display, including a summary page emphasizing overall health of the instrument.
The fault system will put flags in the State Frame to show out-of-range sense points, so the display system will be able to use that for alarms, color coding the display, etc.
The display system will not show science data (e.g. spectra, light curves, images, etc.). That will be the job of the pipeline displays.
Display subsystem updates every ½ s. Limit graphical elements?
Ability to drill down to any level of detail available in the State Frame.

## Slide 4: Basic concepts—scheduler
The scheduler will be responsible for setting the timing for operation of the array, e.g. for scheduling calibration procedures, solar observations, maintenance procedures, etc.
The scheduler will not require detailed control commands, but will operate through macro-commands only. For example, the SUN command will be sufficient to point the antennas (uploading pointing tables for date/time), set the mono-mode frequency sequence, initialize the system, and start taking data. Calibrations, likewise, will be standard and will be initialized with minimal commands (see later calibration presentation).
Details needed to actually implement the macro-commands will be pre-programmed in flexible control lists. New macro-commands can be implemented at any time by simply creating the pre-programmed control list for the command.
The State Frame will contain detailed information about what macro-command is in progress, what subsystem control-list command is operating, and of course the exact state of all subsystems. Thus, an observing log can be generated from the State Frame (i.e. from the RDBMS) at any time.

## Slide 5: Basic concepts—scheduler
The scheduler will be smart, in the sense that it will be able to calculate the duration of any macro-command, taking into account slew times, uptime of sources, and possibly even choice of sources for certain calibrations.
Daily observations can be repeated through the use of a REWIND command that updates times for the new day, as needed.
The pipeline (and possibly the DPP) will need to be aware of the type of data being taken, and adapt processing accordingly, presumably through the use of Miriad scripts created for the purpose.
We will need a script-based facility to take the output of Miriad processing and update calibration tables in the system. This may not be automatic, however, but could be run manually after humans verify the updated calibration information.

## Slide 6: Basic concepts—scheduler
Creating a new macro-command thus requires:
  Choosing a name for the command
  Creating control lists for various subsystems needed to implement the command
  Creating Miriad scripts needed to process the data
The issue of where the translation of the macro-command occurs will be discussed shortly.

## Slide 7: Mono-mode solar observing
Because we will use mono-mode observing, there is very little to do to take solar data, once the initialization and control lists are defined.
The antennas merely point at Sun center, and the system automatically tunes the LO to cover the entire spectral range at maximum cadence, adjusting signal levels automatically to keep the signal at the digitizers in range.
The Miriad scripts will likely have two modes, depending on whether a flare is in progress or not, based on total power (or correlated amplitude) levels. Experience with RHESSI may be useful here. We do not want to get too fancy.

## Slide 8: Calibration procedures
This is where the complexity will arise, since calibrations are so different in nature (some require pointing the antennas in complex sequence, some require multiple sources, some require complex frequency tuning).
Those calibrations that occur infrequently can be more manual, but any that occur daily or even weekly should be highly automated, so that the operator does not have to update files for each case.
The focus should be on the development of a general scheme that allows full control of all relevant parts of the system, but with reasonable limits on combinations of control to avoid undue complexity.

## Slide 9: Translation of macro-commands
When the scheduler invokes a macro-command, we have some choices about where the translation to control lists occurs.
For the antenna commands, the control lists could reside in the cRIOs, or they could reside in the control computer and each control list command would then be fed at the appropriate time to the cRIOs.
Likewise for the other subsystems, depending on how much capability exists in each subsystem for computation.
The other consideration is what information is needed to translate a macro-command to a control list. If source coordinates are needed, it may be better to do it in a central location, for example.
We could have a hierarchy of commands, e.g. the macro-command ANTCAL could create a control list of mid-level commands to the antennas, where they are further decoded into elemental commands.